## Units ex (hidden)
Model |  | DESCRIPTION |  |  | List Price | Qty | Amount | Notes
|  | - | - | -
1 |  | good | - | - | 100 |  | 0
2 |  | better | - | - | 200 |  | 0
3 |  | best | - | - | 300 |  | 0
5 |  | plus one | - | - | 500 |  | 0
2-Pipe VRF Heat Pumps
U-72ME1U9 |  | 72,000 BTU Heat Pump | 208/230 | 3 | 11150 |  | 0
U-96ME1U9 |  | 96,000 BTU Heat Pump | 208/230 | 3 | 12040 |  | 0
U-72ME1U9E |  | 72,000 BTU Heat Pump With Salt Protection - Special Order | 208/230 | 3 | 12650 |  | 0 | Extended Lead Time
U-96ME1U9E |  | 96,000 BTU Heat Pump With Salt Protection - Special Order | 208/230 | 3 | 13850 |  | 0 | Extended Lead Time
CHDX14053 | - Phase Out | 152,000 BTU Heat Pump | 208/230 | 3 | 18950 |  | 0 | Phase Out approx 3/2010, check availability
3 Pipe VRF Heat Recovery (Simultaneous Heat/Cool)
U-72MF1U9 |  | 72,000 BTU Heat Recovery | 208/230 | 3 | 14200 |  | 0
U-96MF1U9 |  | 96,000 BTU Heat Recovery | 208/230 | 3 | 15260 |  | 0
U-72MF1U9E |  | 72,000 BTU Heat Recovery With Salt Protection - Special Order | 208/230 | 3 | 15900 |  | 0 | Extended Lead Time
U-96MF1U9E |  | 96,000 BTU Heat Recovery With Salt Protection - Special Order | 208/230 | 3 | 17100 |  | 0 | Extended Lead Time
CHDZ14053 | - Phase Out | 153,600 BTU Heat Recovery | 208/230 | 3 | 23160 |  | 0 | Phase Out approx 3/2010, check availability
460V / 230V Transformers
ACC-195674 |  | 11 kVA Transformer for 6 Ton Outdoor Units | 460 | 3 | 1490 |  | 0
ACC-195679 |  | 14 kVA Transformer for 8 Ton Outdoor Units | 460 | 3 | 1600 |  | 0
[5 empty] | Totals | 0 | 0
|  |  |  | Total Transformers |  | 0 | 0

## Items
THERMAIR SYSTEMS - QUICK QUOTE TOOL
Item | Unit Price | Qty | Extended Price | Notes
Quick Quote Reference Guide
Supply Diffuser | 30 |  | 0
Add: OBD | 10 |  | 0
Add: SPF | 12 |  | 0
Return Grille | 25 |  | 0
Add: OBD | 10 |  | 0
Add: Round Neck Adapter | 15 |  | 0
Ceiling Exhaust Fan 50-100 CFM | 100 |  | 0
Ceiling Exhaust Fan 100-200 CFM | 150 |  | 0
Ceiling Exhaust Fan 200-300 CFM | 200 |  | 0
Ceiling Exhaust Fan 300-400 CFM | 300 |  | 0
Ceiling Exhaust Fan 400-500 CFM | 400 |  | 0
Add: Roof Cap | 50 |  | 0
Add: Roof Curb and Cap | 90 |  | 0
| Total | 0 | 0
Create Quote

## UnitInfo (hidden)
Item | Unit Price
Supply Diffuser | 30 | -
Add: OBD | 10 | Stock Item
Add: SPF | 12 | -
Return Grille | 25 | -
Add: OBD | 10 | -
Add: Round Neck Adapter | 15 | Stock Item
Ceiling Exhaust Fan 50-100 CFM | 100 | -
Ceiling Exhaust Fan 100-200 CFM | 150 | Stock Item
Ceiling Exhaust Fan 200-300 CFM | 200 | Stock Item
Ceiling Exhaust Fan 300-400 CFM | 300 | -
Ceiling Exhaust Fan 400-500 CFM | 400 | -
Add: Roof Cap | 50 | -
Add: Roof Curb and Cap | 90 | Stock Item
-
Stock Item
Stock Item
-
-
Stock Item
Stock Item
-
-

## Refrigeration Accy (hidden)
ACCESSORIES |  |  | LIST PRICE | Qty | Extended List | NOTE
2-way Heat Pump Distribution Joints
APR-P160BA | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Indoor Unit Piping - w/ adapters < 76,400 BTUs | 149 |  | 0
APR-P680BA | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Indoor Unit Piping - w/ adapters 76,500 to 232,000 BTUs | 279 |  | 0
APR-P1350BA | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Indoor Unit Piping - w/ adapters 232,200 to 460,700 BTUs | 299 |  | 0
APR-CHP680BA | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Outdoor Unit Manifold - w/ adapters < 232,000 BTUs | 349 |  | 0
APR-CHP1350BA | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Outdoor Unit Manifold - w/ adapters 232,000 to 460,700 BTUs | 379 |  | 0
APR-P160UK | Distribution Joint Kit Two Pipe Ssytem | 2 pipe Indoor Unit Piping - cut to fit < 76,400 BTU | 165 |  | 0
APR-P680UK | Distribution Joint Kit | 2 pipe Indoor Unit Piping - cut to fit 76,500 to 232,000 BTU | 299 |  | 0 | Available June 2010
APR-P1350UK | Distribution Joint Kit | 2 pipe Indoor Unit Piping - cut to fit 232,200 to 460,700 BTU | 325 |  | 0 | Available June 2010
APR-CHP680UK | Distribution Joint Kit | 2 pipe Outdoor Unit Manifold - cut to fit < 232,000 BTU | 380 |  | 0 | Available June 2010
APR-CHP1350UK | Distribution Joint Kit | 2 pipe Outdoor Unit Manifold - cut to fit 232,000 to 460,700 BTU | 399 |  | 0 | Available June 2010
|  |  | Total | 0 | 0
3-way Heat Recovery Distribution Joints
APR-RZP224BAB | Distribution Joint Kit Two Pipe Ssytem | Used with 3 Pipe Indoor Unit Piping Up to 76,400 BTUs | 229 |  | 0
APR-RZP680BAB | Distribution Joint Kit Two Pipe Ssytem | Used with 3 Pipe Indoor Unit Piping 76,500 to 232,000 BTUs | 399 |  | 0
APR-RZP1350BAB | Distribution Joint Kit Two Pipe Ssytem | Used with 3 Pipe Indoor Unit Piping 232,200 to 460,700 BTUs | 429 |  | 0
APR-CHRZP900BAB | Distribution Joint Kit Two Pipe Ssytem | Used to connect multiple 3 Pipe Outdoor Units Up to 307,100 BTUs | 489 |  | 0
APR-RZP224UK | Distribution Joint Kit | 3 pipe Indoor Unit Piping - cut to fit < 76,400 BTU | 249 |  | 0 | Available June 2010
APR-RZP680UK | Distribution Joint Kit | 3 pipe Indoor Unit Piping - cut to fit 76,500 to 232,000 BTU | 429 |  | 0 | Available June 2010
APR-RZP1350UK | Distribution Joint Kit | 3 pipe Indoor Unit Piping - cut to fit 232,200 to 460,700 BTU | 459 |  | 0 | Available June 2010
APR-CHRZP900UK | Distribution Joint Kit | 3 pipe Outdoor Unit Manifold - cut to fit < 307,100 BTU | 499 |  | 0 | Available June 2010
|  |  | Total | 0 | 0
3-way Solenoid Valve Boxes
CZ-P56HR1U | Solenoid Valve Kit Required for Three Pipe Heat Recovery Systems | Total Indoor Capacity of less than 19,000 BTUs (for 3 Pipe Systems) | 1100 |  | 0
CZ-P160HR1U | Solenoid Valve Kit Required for Three Pipe Heat Recovery Systems | Total Indoor Capacity of 19,100 to 54,600 BTUs (for 3 Pipe Systems) | 1250 |  | 0
|  |  | Total | 0 | 0
Refrigerant Shut Off Valves
BVT14 | 1/4" Ball Valve With Schraeder fitting | With Schraeder Fitting | 56 |  | 0
BVT38 | 3/8" Ball Valve With Schraeder fitting | With Schraeder Fitting | 60 |  | 0
BVT12 | 1/2" Ball Valve With Schraeder fitting | With Schraeder Fitting | 64 |  | 0
BVT58 | 5/8" Ball Valve With Schraeder fitting | With Schraeder Fitting | 64 |  | 0
BVT34 | 3/4" Ball Valve With Schraeder fitting | With Schraeder Fitting | 73 |  | 0
BVT78 | 7/8"" Ball Valve With Schraeder fitting | With Schraeder Fitting | 80 |  | 0
BVT118 | 1-1/8" Ball Valve With Schraeder fitting | With Schraeder Fitting | 113 |  | 0
BVT138 | 1-3/8" Ball Valve With Schraeder fitting | With Schraeder Fitting | 184 |  | 0
BVT158 | 1-5/8" Ball Valve With Schraeder fitting | With Schraeder Fitting | 196 |  | 0
|  |  | Total | 0 | 0

## Controls (hidden)
CONTROL SYSTEMS |  | LIST PRICE | Qty | Extended List | NOTE
Indoor Unit Controllers & Accessories
CZ-RTC2 | Wired Remote controller (7-day setback, mode, temp, service, etc.) | 230 |  | 0
CZ-RWSC1U | Wireless Remote Controller (For use with MF, ME, MP, MR models) | 275 |  | 0
CZ-RWSU1U | Wireless Remote Controller (For use with MU models) | 275 |  | 0
CZ-RWST1U | Wireless Remote Controller (For use with MD and MT models) | 275 |  | 0
CZ-RWSY1U | Wireless Remote Controller (For use with MY models) | 275 |  | 0
CZ-RWSK1U | Wireless Remote Controller (For use with MK models) | 140 |  | 0
CZ-RELC2 | Simple Remote Controller - Wired (On/Off, Mode, Temp, Fan Speed, Flap, Service Function) - With Back Light | 430 |  | 0
CZ-RE2C2 | Simple Remote Controller - Wired (On/Off, Mode, Temp, Fan Speed, Flap, Service Function) | 140 |  | 0
CZ-CSRC2 | Remote Temperature Sensor | 190 |  | 0
System Controllers
CZ-64ESMC1U | System Controller - Set individual indoor unit temps for up to 4 zones, 16 indoor units max per zone | 940 |  | 0
CZ-ESWC2 | System Control Timer Thermal On/Off at program times only, no set back temperature | 590 |  | 0
CZ-256ESMC1U | Intelligent Controller - Web Enabled (Controls Max of 256 indoor units with CZ-CFUNC1U) | 6490 |  | 0
CZ-CFUNC1U | Communications Adaptor (Used with Intelligent Controller or BMS Interface) | 2550 |  | 0
CZ-CBPCC2 | Back up Data Card for Intelligent Controller | 699 |  | 0
CZ-CLNC1U | LonWorks Interface (Maximum of 16 indoor units) | 1900 |  | 0 | Special Order
BMS-CTRL1 | BMS Interface - BACnet, LONworks, N2 or MODBUS Also requires CZ-CFUNC1U | 8200 |  | 0 | Requires CZ-CFUNC1U
Software
CZ-CSWKC1U | STAIMS Base Software Package | 5200 |  | 0
CZ-CSWAC1U | STAIMS Electrical Power Distribution Proportioning Software Also requires CZ-CSWKC1U | 2890 |  | 0
CZ-CSWGC1U | STAIMS Layout Graphic Display Software Also requires CZ-CSWKC1U | 2550 |  | 0
CZ-CSWWC1U | STAIMS BACnet Interface Software Also requires CZ-CSWKC1U | 5945 |  | 0
CZ-CSWBC1U | STAIMS Web Enabling Software Also requires CZ-CSWKC1U | 2340 |  | 0
Adapters - ALL NET PRICES
623-178-5082 | TM80BG Cable/Plug for Maintenance Remote | 10.84 |  | 0 | NET
H26 | Plug Adapter for External Electric Heat Relay | 3.52 |  | 0 | NET
623-306-8794 | Options Connector - Used for Damper & Ventilation Unit Interlock | 12.41 |  | 0 | NET
623-176-6814 | Plug Adapter for External Start/Stop Signal | 9.96 |  | 0 | NET
|  | Total Local Controllers & Assy's | 0 | 0
|  | Total Interfaces & Main Controllers | 0 | 0
|  | Total Software | 0 | 0
|  | Total Adapters | 0 | 0

## Pumps (hidden)
Pumps |  | LIST PRICE | Qty | Extended List | NOTE
Indoor Unit Controllers
ASP-MA115 | 115 Volt Mini Aqua Aspen Condensate Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 180 |  | 0 | Two Piece, Pump & Reservoir Chamber
ASP-MA230 | 230 Volt Mini Aqua Aspen Condensate Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 180 |  | 0 | Two Piece, Pump & Reservoir Chamber
ASP-ML115 | 115 Volt Mini Lime Aspen Condensate Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 230 |  | 0 | One Piece External Mount with Cover
ASP-ML230 | 230 Volt Mini Lime Aspen Condensate Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 230 |  | 0 | One Piece External Mount with Cover
ASP-MO115 | 115 Volt Mini Orange Aspen Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 195 |  | 0 | Two Piece, Pump & Reservoir Chamber
ASP-MO230 | 230 Volt Mini Orange Aspen Pump Max 26' Lift, 3.7 GPH @ 0 Lift, 0.8 GPH @ 26' | 195 |  | 0 | Two Piece, Pump & Reservoir Chamber
|  | Total | 0 | 0

## Service (hidden)
SERVICES; COMMISSIONING/TRAINING |  | NET PRICE | Qty | Extended NET | NOTE
Service
ECO-SC-4 | ECOi Commissioning (Per normal business day, up to 24 tons) | 1175 |  | 0 | Per Day
IC-SC-1 | Commisioning of Intelligent Controller (Base fee for each Intelligent Controller) | 1100 |  | 0 | Also add IC-SC-Indoor
IC-SC-Indoor | Commissioning of Intelligent Controller (Indoor Units Fee) | 20 |  | 0 | $20 Per each Indoor Unit
LW-SC-1 | Commissioning of LonWorks Interface module (Base Fee) | 1100 |  | 0 | Pper Interface (also add LW-SC-Indoor)
LW-SC-Indoor | Commissioning of LonWorks Interface (Indoor Units Fee) | 20 |  | 0 | $20 Per each Indoor Unit
PP-SC-1 | Commissioning of BACnet Interface (Base Fee for each BMS-CTRL1) | 1100 |  | 0 | Also add PP-SC-Indoor
PP-SC-Indoor | Commissioning of BACnet (Indoor Units Fee) | 25 |  | 0 | $25 per Indoor Unit
CA-SC-1 | Commissioning of Communications Adapter (Base fee for each Comm Adapter) | 1100 |  | 0 | Per Adapter (also add CA-SC-Indoor)
CA-SC-Indoor | Commissioning of Communications Adapter (Indoor Units Fee) | 25 |  | 0 | $25 per Indoor Unit
STAIMS-SC-1 | Commissioning of STAIMS Management System (Base fee for each overall system) | 1100 |  | 0 | Per STAIMS (also add CA-SC-Indoor)
STAIMS-SC-Indoor | Commissioning of STAIMS Management System (Indoor Units Fee) | 25 |  | 0 | $25 per Indoor Unit
AC-SC-1 | Program 2 Way System to enable Auto Changeover of mode (Base Fee/outoor unit) | 400 |  | 0 | Per outdoor unit, also add AC-SC-Indoor
AC-SC-Indoor | Program 2 Way System to enable Auto Changeover of mode (Indoor Units Fee) | 20 |  | 0 | $20 Per Indoor Unit
IPO-SC-1 | Program "Ignore indoor power off failure" for 2 Way system (Base Fee/outdoor unit) | 400 |  | 0 | Per outdoor unit, also add IPO-SC-Indoor
IPO-SC-Indoor | Program "Ignore indoor power off failure" for 2 Way system (Indoor Units Fee) | 20 |  | 0 | $20 Per Indoor Unit
CNBH | Commissioning completed during non-business hours or non-business days (Double Above Values) | "1" for Yes |  | 0
COUS | All Commissioning of Systems or Components Outside Continental USA (Double Above Values) | "1" for Yes |  | 0
ECOi-IST | Training - ECOi Installation and Commissioning Training (At Customer Location) | 1000 |  | 0
ECOi-SERT | Training - ECOi Service Training (At Customer Location) | 1000 |  | 0
TOUS | Training (Conducted outside of the Continential U.S.) (Double Above Values) | "1" for Yes |  | 0
ECO-SIT-4 | Training - On-Site Supervised ECOi Installation Training (Per Day ) | 1175 |  | 0
ECO-SIT-NR | Training - Supervised Installation On Site Training where attendee's did not show up as agreed upon | 1175 |  | 0
ECO-SIT-OS | Training - Supervised Installation Training Outside Continetal USA (Double Above Values) | "1" for Yes |  | 0
|  | Total |  | 0

## ListPriceSummary (hidden)
Item | Unit Price | Qty | Ext Price | Notes
Supply Diffuser | 30 | 0 | 0 | -
Add: OBD | 10 | 0 | 0 | Stock Item
Add: SPF | 12 | 0 | 0 | -
Return Grille | 25 | 0 | 0 | -
Add: OBD | 10 | 0 | 0 | -
Add: Round Neck Adapter | 15 | 0 | 0 | Stock Item
Ceiling Exhaust Fan 50-100 CFM | 100 | 0 | 0 | -
Ceiling Exhaust Fan 100-200 CFM | 150 | 0 | 0 | Stock Item
Ceiling Exhaust Fan 200-300 CFM | 200 | 0 | 0 | Stock Item
Ceiling Exhaust Fan 300-400 CFM | 300 | 0 | 0 | -
Ceiling Exhaust Fan 400-500 CFM | 400 | 0 | 0 | -
Add: Roof Cap | 50 | 0 | 0 | -
Add: Roof Curb and Cap | 90 | 0 | 0 | Stock Item
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
StartNetPrice |  | 1
| Total List Price | 0 | 0

## NetPriceSummary (hidden)
Model | Description | Qty | Extended Price
623-178-5082 | TM80BG Cable/Plug for Maintenance Remote | 0 | 0
H26 | Plug Adapter for External Electric Heat Relay | 0 | 0
623-306-8794 | Options Connector - Used for Damper & Ventilation Unit Interlock | 0 | 0
623-176-6814 | Plug Adapter for External Start/Stop Signal | 0 | 0
ECO-SC-4 | ECOi Commissioning | 0 | 0
IC-SC-1 | Commisioning of Intelligent Controller | 0 | 0
IC-SC-Indoor | Commissioning of Intelligent Controller | 0 | 0
LW-SC-1 | Commissioning of LonWorks Interface module | 0 | 0
LW-SC-Indoor | Commissioning of LonWorks Interface | 0 | 0
PP-SC-1 | Commissioning of BACnet Interface | 0 | 0
PP-SC-Indoor | Commissioning of BACnet | 0 | 0
CA-SC-1 | Commissioning of Communications Adapter | 0 | 0
CA-SC-Indoor | Commissioning of Communications Adapter | 0 | 0
STAIMS-SC-1 | Commissioning of STAIMS Management System | 0 | 0
STAIMS-SC-Indoor | Commissioning of STAIMS Management System | 0 | 0
AC-SC-1 | Program 2 Way System to enable Auto Changeover of mode | 0 | 0
AC-SC-Indoor | Program 2 Way System to enable Auto Changeover of mode | 0 | 0
IPO-SC-1 | Program "Ignore indoor power off failure" for 2 Way system | 0 | 0
IPO-SC-Indoor | Program "Ignore indoor power off failure" for 2 Way system | 0 | 0
CNBH | Commissioning completed during non-business hours or non-business days | 0 | 0
COUS | All Commissioning of Systems or Components Outside Continental USA | 0 | 0
ECOi-IST | Training - ECOi Installation and Commissioning Training | 0 | 0
ECOi-SERT | Training - ECOi Service Training | 0 | 0
TOUS | Training (Conducted outside of the Continential U.S.) | 0 | 0
ECO-SIT-4 | Training - On-Site Supervised ECOi Installation Training | 0 | 0
ECO-SIT-NR | Training - Supervised Installation On Site Training where attendee no showed | 0 | 0
ECO-SIT-OS | Training - Supervised Installation Training Outside Continetal USA | 0 | 0
StartSummary |  | 1
| Total Net Price | 0 | 0

## PriceSummary (hidden)
Total Quote | 0
Comments:
· Total Price FOB Factory
· Price Excludes Sales Tax
· To process your order send quote to: marionh@thermairsystems.com

## Quote
www.ThermAirSystems.com
Mesa Warehouse 245 S Dobson Road Mesa, AZ 85202 (480) 377-9255 |  | Tucson Warehouse 929 S Tyndall Ave Tucson, AZ 85719 (520) 623-0656
Project Name:
Client:
Item | Unit Price | Qty | Ext Price
Total Quote |  |  | 0
Comments:
· Total Price FOB Factory
· Price Excludes Sales Tax
· To process your order send quote to: marionh@thermairsystems.com